## Exhibit 9-A PHL
Bidder's Name:
1. FLAT RATE SECTION
Item | Manufacturer | Model # | Total # of Items (A) | Bidder's Service Cost Per item (B) | Service Times Per Year (C) | Bidder's Total Annual (12 Months) Cost (AxBxC)
PHL EQUIPMENT ITEMS
BACTINERATOR
Bacti-Cinerator | McCormick Sci. | IV | 6 |  | 1 | 0
Bacti-Cinerator | Oxford | III | 1 |  | 1 | 0
Total |  |  | 7 |  |  | 0
BALANCE
Balance, Analytical | Mettler Toledo | AG204 | 1 |  | 2 | 0
Balance, Electronic | Denver Instrument | XP-300 | 1 |  | 2 | 0
Balance, Top-Loading | Ohaus | PA1502 | 5 |  | 2 | 0
Scale, Electronic | Mettler Instrument | MS304S | 2 |  | 2 | 0
Total |  |  | 9 |  |  | 0
CENTRIFUGE
Centrifuge | Argos | VS-100BN | 4 |  | 2 | 0
Centrifuge | Beckman Coulter | Allegra 6 | 2 |  | 2 | 0
Centrifuge, Refrigerated | Beckman Coulter | GS-6KR | 1 |  | 2 | 0
Centrifuge, Refrigerated | Beckman Coulter | Allegra 64R | 1 |  | 2 | 0
Centrifuge | Benchmark | C1008 | 4 |  | 2 | 0
Centrifuge | Cole Palmer | C1201/DW41 | 1 |  | 2 | 0
Centrifuge, Refrigerated | Eppendorf | 5804R | 6 |  | 2 | 0
Centrifuge | Eppendorf | 5425 | 4 |  | 2 | 0
Centrifuge | Fisher Scientific | 05-090-100 | 5 |  | 2 | 0
Mini Plate Spinner Centrifuge | Fisher Scientific | 14100143 | 3 |  | 2 | 0
Centrifuge, Horizontal | Griffin Group | RMC-120 | 1 |  | 2 | 0
Centrifuge | Thermo Scientific | Sorval Legend Micro 21 | 1 |  | 2 | 0
Centrifuge, Refrigerated | Thermo Scientific | Sorval Legend XFR | 2 |  | 2 | 0
Microcentrifuge | USA Scientific | SD | 6 |  | 2 | 0
Microcentrifuge | USA Scientific | IR | 2 |  | 2 | 0
Centrifuge, Microplate | USA Scientific | C-2000 | 1 |  | 2 | 0
Centrifuge | VWR | Galaxy Mini | 4 |  | 2 | 0
Total |  |  | 48 |  |  | 0
DECAPPER
Belt Decapper, Unicap | Greiner Bio-One | Vacuette | 2 |  | 2 | 0
Total |  |  | 2 |  |  | 0
HEAT BLOCK
Dri-Bath | Labnet | D1200 | 1 |  | 2 | 0
Heat Block | Diagnostic Hybrids | 260680 | 1 |  | 2 | 0
Heat Block | Benchmark | BSH-200 | 3 |  | 2 | 0
Heat Block | Crystal | GY-2101A | 2 |  | 2 | 0
Heat Block | Gen-Probe | 2775 | 2 |  | 2 | 0
Heat Block | Fisher Scientific | 11-718-6 | 1 |  | 2 | 0
Heat Block, Digital | VWR | 13259-052 | 1 |  | 2 | 0
Thermomixer | Eppendorf | Thermomixer | 3 |  | 2 | 0
Total |  |  | 14 |  |  | 0
FUME HOOD
Chemical Fume Hood | Airclean Systems | AC632LFUVC | 2 |  | 1 | 0
Chemical Fume Hood | Airclean Systems | AC632DB | 2 |  | 1 | 0
Total |  |  | 4 |  |  | 0
HOT PLATE
Stirrer/Hot Plate | Fisher Scientific | 11-500-49SH | 3 |  | 2 | 0
Stirrer/Hot Plate | VWR | 97042-634 | 1 |  | 2 | 0
Hot Plate | Corning | PC-300 | 1 |  | 2 | 0
Total |  |  | 5 |  |  | 0
ILLUMINATOR
Transilluminator | Bio-Rad | Mini | 1 |  | 2 | 0
Imaging System | Acuris Instruments | SmartDoc | 1 |  | 2 | 0
Illuminator, UV | UVP | TL-33E | 1 |  | 2 | 0
Total |  |  | 3 |  |  | 0
INCUBATORS
Incubator | 3M (Attest) | 390 | 1 |  | 2 | 0
Incubator | 3M (Attest) | 116 | 2 |  | 2 | 0
Incubator | Benchmark | H2200-HC | 1 |  | 2 | 0
Incubator | Boekel | 13500 | 3 |  | 2 | 0
Incubator, CO2 | Fisherbrand | 11676602 | 1 |  | 2 | 0
Incubator | Lab-Line | 203 | 2 |  | 2 | 0
Incubator | Lab-Line | 120 | 2 |  | 2 | 0
Incubator, Low-Temp | Thermo Fisher | 818 | 2 |  | 2 | 0
Incubator | Thermo Scientific | Heratherm IMC 18 | 1 |  | 2 | 0
Incubator | VWR | 1555 | 12 |  | 2 | 0
Incubator, CO2 | VWR | 2350T | 2 |  | 2 | 0
Incubator, CO2 | VWR | 1927 | 5 |  | 2 | 0
Incubator, CO2 #2 | VWR | 2475T | 2 |  | 2 | 0
Incubator, CO2 #5 | VWR | 2450T | 2 |  | 2 | 0
Incubator | Yamato Scientific | IC400 | 1 |  | 2 | 0
Total |  |  | 39 |  |  | 0
METER, pH
pH Meter | Oakton Instruments | 1100 | 1 |  | 2 | 0
pH Meter | Fisher Brand | FE-150 | 1 |  | 2 | 0
Total |  |  | 2 |  |  | 0
MICROFUGE
Centrifuge | Beckman Coulter | Microfuge 16 | 7 |  | 2 | 0
Centrifuge-Microfuge | USA Scientific | S.D. | 6 |  | 2 | 0
Total |  |  | 13 |  |  | 0
MINI SUB-CELL GT SYSTEM
Mini Sub-cell GT System | Bio-Rad Laboratories | 170-4487 | 2 |  | 1 | 0
Mini Sub-cell GT System | Bio-Rad Laboratories | Mini C | 1 |  | 1 | 0
Total |  |  | 3 |  |  | 0
MIXER
Mixer (Maxi-Mix Plus) | Barnstead/Thermolyne | M63215 | 1 |  | 2 | 0
Mixer, Vortex | Barnstead/Thermolyne | M16715 | 7 |  | 2 | 0
Mixer, Vortex | Barnstead/Thermolyne | M37615 | 1 |  | 2 | 0
Vortex, Mixer | Benchmark | BV1000 | 1 |  | 2 | 0
Mixer, Vortex | Fisher Scientific | 2215365 | 5 |  | 2 | 0
Mixer, Vortex (Genie 2) | Fisher Scientific | G-560 | 1 |  | 2 | 0
Heating/Cooling Block Vortexer | Gen Probe | SB-100 | 1 |  | 2 | 0
Vortexer | IKA Works | IS000 | 1 |  | 2 | 0
Vortexer | IKA Works | MS3B | 1 |  | 2 | 0
Vortex, Mixer | LabForce | BV1000 | 1 |  | 2 | 0
Mixer, Vortex (Genie 2) | Scientific Industries | 9560/SI-0236 | 9 |  | 2 | 0
Vortexer | Talboys | 94567 | 1 |  | 2 | 0
Mixer, Vortex | Thermo Scientific | M16715 | 1 |  | 2 | 0
Mixer | Thermo Scientific | 88882007 | 1 |  | 2 | 0
Vortexer | Thermo Scientific | 88882009 | 1 |  | 2 | 0
Vortexer, Multi-tube | Troemner | VX01 | 1 |  | 2 | 0
Mixer, Vortex | Velp Scientifica | Wizard | 2 |  | 2 | 0
Vortex | VWR | VM-3000 Mini | 1 |  | 2 | 0
Mixer, Vortex | VWR | MV1 | 12 |  | 2 | 0
Vortexer, Multi-Tube | VWR | VX-2500 | 3 |  | 2 | 0
Vortexer | VWR | 97043562 | 1 |  | 2 | 0
Total |  |  | 53 |  |  | 0
PLATE SPINNER
Centrifuge, Plate Spinner | Fisher Scientific | 14100143 | 1 |  | 2 | 0
Total |  |  | 1 |  |  | 0
POWER SUPPLY
Power Supply | Bio-Rad Laboratories | PAC 300 | 2 |  | 1 | 0
Power Supply | Bio-Rad Laboratories | PAC1000 | 1 |  | 1 | 0
Total |  |  | 3 |  |  | 0
MICROPLATE READER
Reader, Microplate | Biotek Instruments | ELx800 | 2 |  | 2 | 0
Reader, Microplate | Biotek Instruments | Epoch | 1 |  | 2 | 0
Total |  |  | 3 |  |  | 0
MICROWAVE OVEN
Microwave Oven | Auavtic | M01108SST | 1 |  | 2 | 0
Total |  |  | 1 |  |  | 0
ROCKER TUBE
Rotator/Mixer/Rocker | Scientific Industries | K-500-4 | 1 |  | 1 | 0
Rocker | Boekel | 28200 | 1 |  | 1 | 0
Rocker | Thermo Fisher | M48725 | 1 |  | 1 | 0
Mini Tube Rotator | Thomas Scientific | LabForce | 1 |  | 1 | 0
Rocker | Thermo Scientific | 4630 | 1 |  | 1 | 0
Rocker | Benchmark | B3D2300 | 1 |  | 1 | 0
Total |  |  | 6 |  |  | 0
ROTATOR
Tissue Culture Rotator | Lab-Line Instruments | 1645 (Cel-Grow) | 3 |  | 2 | 0
Rotator | Fisher Scientific | 341 | 2 |  | 2 | 0
Rotator | SLT | MPS-4 | 1 |  | 2 | 0
Total |  |  | 6 |  |  | 0
SHAKER
Shaker, Rotisserie | Barnstead/Thermolyne | 400110 | 1 |  | 2 | 0
Shaker, Rotisserie | Perkin Elmer | 1296-004 | 1 |  | 2 | 0
Bath, Reciprocal Shaking | Precision Scientific | 25 #51221080 | 1 |  | 2 | 0
Shaker, Tube | Therm Scientific | C400110 | 1 |  | 2 | 0
Shaker (Disruptor) | Scientific Industries | SI-DD38 | 2 |  | 2 | 0
Incubation Shaker | New Brunswick | Excella E24 | 1 |  | 2 | 0
Total |  |  | 7 |  |  | 0
STIRRER
Magnetic Stirrer | Fisher Scientific | 11-600-495 | 1 |  | 2 | 0
Magnetic Stirrer | Benchmark/VWR | HCS-50 | 1 |  | 2 | 0
Magnetic Stirrer | VWR | HCH-50 | 1 |  | 2 | 0
Stirrer | Corning | PC410 | 2 |  | 2 | 0
Total |  |  | 5 |  |  | 0
STOMACHER
Blender, Circulator/Paddle | Seward | Stomacher400 | 1 |  | 2 | 0
Total |  |  | 1 |  |  | 0
SUB-CELL GT DNA SYSTEM
Sub-Cell GT DNA System | Bio-Rad Laboratories | N/A | 2 |  | 1 | 0
Total |  |  | 2 |  |  | 0
THERMOMETER
Thermometer (Blue Fluid) | STB | 307059 | 1 |  | 1 | 0
Barometer, Digital | Fisher Scientific | 02-400 | 4 |  | 1 | 0
Thermometer, Electronic | Fisher Scientific | 06-664-11 | 2 |  | 1 | 0
Thermometer (Red Fluid) | Fisher Scientific | 15-041-4D | 4 |  | 1 | 0
Thermometer (Blue Fluid) | N/A | 35mm IMM | 4 |  | 1 | 0
Thermometer (Blue Fluid) | ERTCO | 44572QC | 15 |  | 1 | 0
Thermometer (Red Fluid) | ERTCO | 647-1S | 1 |  | 1 | 0
Thermometer (Red Fluid) | N/A | 76mm IMM | 3 |  | 1 | 0
Thermometer (Red Fluid) | Thermco Products | ACC6471S | 1 |  | 1 | 0
Thermometer (Red Fluid) | ERTCO | F-010-1SR | 1 |  | 1 | 0
Thermometer | ERTCO | I-030-1A | 1 |  | 1 | 0
Thermometer (Red Fluid) | ERTCO | I-030-1SR | 3 |  | 1 | 0
Column Thermometer | ERTCO | N/A | 1 |  | 1 | 0
Thermometer (Red Fluid) | N/A | N/A | 3 |  | 1 | 0
Digital Thermometer | N/A | N/A | 3 |  | 1 | 0
Thermometer (Blue Fluid) | Fisher Sci./Ever-Safe | N16B | 4 |  | 1 | 0
Thermometer (Red Fluid) | ERTCO | OV-070S | 2 |  | 1 | 0
Thermometer (Red Fluid) | ERTCO | R-020-1SR | 3 |  | 1 | 0
Electronic Thermometer | Fisher Scientific | S66277 | 11 |  | 1 | 0
Thermometer | Baxter | T2030-1 | 2 |  | 1 | 0
Thermometer (Red Fluid) | ERTCO | ULF-010SR | 2 |  | 1 | 0
Total |  |  | 71 |  |  | 0
ULTRASONIC CLEANER
Cleaner, Ultrasonic | VWR | 75D | 1 |  | 1 | 0
Cleaner, Ultrasonic | Lab-Line/Gen-Probe | 9303GEN | 1 |  | 1 | 0
Cleaner, Ultrasonic | Elma | Elma Sonic E30H | 1 |  | 1 | 0
Ultrasonic Cleaner | Branson | CPX3800H | 1 |  | 1 | 0
Ulrasonic Bath | NA | B200 | 1 |  | 1 | 0
Total |  |  | 5 |  |  | 0
WARMER, SLIDE
Warmer, Slide | Premiere | XH-2002 | 1 |  | 2 | 0
Warmer, Slide | Thermo Scientific | N/A | 4 |  | 2 | 0
Total |  |  | 5 |  |  | 0
WASHER
Washer, Microplate Strip | Biotek Instruments | Elx50 | 1 |  | 2 | 0
Washer, Microplate Strip | Biotek Instruments | Elx508V | 1 |  | 2 | 0
Total |  |  | 2 |  |  | 0
WATER BATH
Water Bath (Aqua Bath) | Lab-Line | 18002 | 5 |  | 2 | 0
Water Bath | Precision Scientific | 51221048 | 2 |  | 2 | 0
Water Bath | Precision Scientific | 51221060 | 1 |  | 2 | 0
Water Bath | Precision Scientific | 180 | 1 |  | 2 | 0
Water Bath (Isotemp) | Fisher Scientific | 202S | 1 |  | 2 | 0
Water Bath (Isotemp) | Fisher Scientific | 220 | 1 |  | 2 | 0
Water Bath (Circulating) | Precision Scientific | 260 | 1 |  | 2 | 0
Water Bath | Thermo Scientific | 2864 | 2 |  | 2 | 0
Water Bath (GP 20) | Thermo Scientific | TSGP20 | 1 |  | 2 | 0
Water Bath | Benchmark | myBath | 1 |  | 2 | 0
Total |  |  | 16 |  |  | 0
PCR WORKSTATION
Ductless Chem. Workstation | Airclean Systems | AC600 | 9 |  | 1 | 0
Ductless Chem. Workstation | Airclean Systems | AC632DB | 1 |  | 1 | 0
PCR Workstation | C.B.S. Scientific | P-030-02 | 1 |  | 1 | 0
PCR Workstation Hood 6 | C.B.S. Scientific | P-030-202 | 1 |  | 1 | 0
Total |  |  | 12 |  |  | 0
MISCELLANEOUS
Turbidity Meter | Beckman Coulter | Microscan | 6 |  | 2 | 0
Turbidity Meter | Dade Behring | MicroScan | 1 |  | 2 | 0
Tape Station | Agilent Technologies | 4200 | 1 |  | 2 | 0
Fluorometer | Thermo Fisher Sci. | Fluorometer Qubit Flex | 1 |  | 2 | 0
Fluorometer | Invitrogen/Thermo Sci. | Qubit Flex | 2 |  | 2 | 0
Spectrophotometer | NanoDrop | ND-1000 | 1 |  | 2 | 0
Printer, Label | Brady | (Printer) i5100 | 1 |  | 2 | 0
Camera | Olympus | Stylus Tough | 1 |  | 2 | 0
Total |  |  | 14 |  |  | 0
FLAT RATE SECTION - TOTAL | [5 empty] | 0
2. HOURLY RATE SECTION*
Type of Hourly Rate |  |  | Hourly Rate (A) | Estimated Hours (B) | Estimated Total Annual (12 Months) Cost (AxB)
2a. As-Needed Services (response and/or service performed within 24 hours of notification to Contractor, refer to Exhibit A, Statement of Work, Paragraph 9.2): |  |  |  | 30 | 0
2b. Exclusions (response and/or service provided within 24 hours of notification to Contractor for "Out-of-Scope" services, refer to Exhibit A, Statement of Work, Paragraph 9.4): |  |  |  | 30 | 0
HOURLY RATE SECTION - TOTAL (2a + 2b) |  |  |  | 60 | 0
*Bidder shall be reimbursed for the procurement of any and all required parts for service(s) in the Hourly Rate Section in accordance to Paragraph 6, Invoices and Payment, of the Contract.
3. BUDGET FOR PARTS FOR REPAIRS SECTION
BUDGET FOR PARTS FOR REPAIRS SECTION - TOTAL |  |  |  |  | 20000
4. BUDGET FOR NEW EQUIPMENT AND CALIBRATION
BUDGET NEW EQUIPMENT AND CALIBRATION SECTION - TOTAL |  |  |  |  | 5000

## Exhibit 9-B CHS
Bidder's Name: | [6 empty] | Key
new addition reported by the center.
1. FLAT RATE SECTION
Item | Manufacturer | Model # | Total # of Items All Centers Included (A) (need to update w/ column H) | Bidder's Service Cost Per Item (B) | Service Times Per Year (C) | Bidder's Total Annual (12 Months) Cost (AxBxC) | Locations & Quantity for Items
CHS Medical Equipment Items
Automated External Defibrillator | Cardiac Science | 4301094 / Powerheart G3 | 13 |  | 1 | 0 | AVHC (1), NHHC (1), Pacoima (1), CTHC (1), RTHC (1), THC(1), HWHC (1), MLK (1), WHC (1), MHC (1), Pomona (1), GHC (1), CHC (1)
Automated External Defibrillator | Cardiac Science | 9390A-501 | 1 |  | 1 |  | Cen Sat (1)
Total |  |  | 14 |  | 1 | 0
Audiometer | Eckstein | EB390MB |  |  |  | 0
Audiometer | AMBCO | 650A | 7 |  | 2 | 0 | Pacoima (2), HWHC (1) , WHC (1), Cen Satellite (1), CHC (1), AVHC (1)
Audiometer | MAICO | MA-25 | 1 |  | 2 | 0 | HWHC (1)
Audiometer | MAICO | MA-19 | 1 |  | 2 |  | CHC (1)
Audiometer | Welch Allyn | AM232 | 1 |  | 2 | 0 | MHC (1)
Total |  |  | 10 |  | 8 | 0
Centrifuge | Clay Adams | Compact II | 1 |  | 2 | 0 | Pomona (1)
Centrifuge | Unico | C858 | 2 |  | 2 | 0 | AVHC (1), CHC (1)
Centrifuge | LW Scientific | CXR | 1 |  | 2 | 0 | NHHC (1)
Centrifuge | Fisher HealthCare | Horizon 642E | 4 |  | 2 | 0 | RTHC (1), MLK (1) , CHC (2)
Centrifuge | UNICO | C8363 | 1 |  | 2 | 0 | MHC (1)
Centrifuge | McKesson | HXV | 2 |  | 2 | 0 | Cen Sat (1) & CHC (1)
Centrifuge | Drucker/Fisher | 642E | 9 |  | 2 | 0 | NHHC (1) , CTHC (1), HWHC (1), WHC(2), GHC (1) CHC (2), Pacoima (1)
Centrifuge | Unico | C8312 | 1 |  |  |  | Pomona(1)
Total |  |  | 21 |  | 8 | 0
25
Exam Light | Burton Medical | WM50FL | 1 |  | 2 |  | Pomona (1)
Exam Light | Welch Allyn | GS EXAM IV M344 | 24 |  | 2 | 0 | NHHC (2), MLK (3), CTHC (6), THC (5), HWHC (2), WHC (2 total- 1 of them in trailer), Pomona (2), CHC (2)
Exam Light | Phillips Burton | GL10184 | 2 |  | 2 | 0 | AVHC (2)
Exam Light | Phillips Burton | SB40FL | 1 |  | 2 | 0 | CTHC (1)
Exam Light | Welch Allyn | 46070K | 1 |  | 2 | 0 | WHC (1)
Exam Light | Welch Allyn | LS135 | 2 |  | 2 | 0 | CHC (2)
Exam Light | Dazor | 6004A/1050/BLACK | 2 |  |  |  | RTHC(2)
Total |  |  | 33 |  | 12 | 0
25
Exam Table | Enochs | Power 4000 | 2 |  | 2 | 0 | NHHC (1), Pomona (1)
Exam Table | Midmark Corp | 604-001 | 11 |  | 2 | 0 | AVHC (3), CTHC (1), MLK (7)
Exam Table | Midmark Corp | 104 Ritter | 3 |  | 2 | 0 | CHC (2) & Pomona (1)
Exam Table | Midmark Corp | 305 Ritter | 1 |  | 2 | 0 | Pacoima (1)
Exam Table | Midmark Corp | 223 Ritter | 2 |  | 2 | 0 | CHC (2)
Exam Table | Enochs | UNKNOWN | 1 |  | 2 | 0 | GHC (1)
Exam Table | Midmark Corp | 100-005 | 1 |  | 2 | 0 | WHC (1)
Exam Table | Midmark Corp | 204 | 1 |  | 2 | 0 | RTHC (1)
Exam Table | Midmark Corp | 625 | 1 |  | 2 | 0 | CHC (1)
Exam Table | Dre Medical | Dentamed | 1 |  | 2 | 0 | CHC (1)
Exam Table | Midmark | 222 | 1 |  | 2 | 0 | WHC (1)
Exam Table | LINAK | 11324B | 2 |  | 2 | 0 | HWHC (2)
Exam Table | Clinton Industries | No model listed | 2 |  | 2 | 0 | HWHC (2)
Exam Table | Midmark Corp | 623 | 2 |  | 2 | 0 | THC (1) & CHC (1)
Exam Table | Midmark Corp | 300 | 1 |  | 2 | 0 | NHHC (1)
Exam Table | Intensa | 460 | 11 |  | 2 | 0 | AVHC (1), NHHC (1), CTHC (2), RTHC (1), THC (1), WHC (2), CHC (2), Pacoima (1)
Exam Table | UM Medical Power Hi/Lo | 4040-650 100 | 3 |  |  |  | THC (3)
Exam Table | Midmark | Ritter | 1 |  |  |  | Pomona (1)
Exam Table | LINAK | DK6430 | 1 |  |  |  | Pomona (1)
Total |  |  | 48 |  | 30 | 0
Incubator | Boekel | 132000 | 1 |  | 2 | 0 | THC (1)
Incubator | Curtin Mathenson Scientific, Inc. | C1574 | 1 |  | 2 | 0 | MLK (1)
Incubator | Boekel | None | 2 |  | 2 | 0 | RTHC (1) , Cen Sat (1)
Incubator | Boekel | 133000 | 1 |  | 2 | 0 | AVHC (1)
Incubator | Thermo fisher (model not provided) | IMC40483279(serial) | 1 |  | 2 | 0 | CTHC (1)
Incubator | VWR | INCU-LINE | 1 |  | 2 | 0 | CTHC (1)
Incubator | Thermo Scientific | IMC-18 | 10 |  | 2 | 0 | NHHC (1), PAC (1), HWHC (1), WHC (1), MHC (1), Pomona (1), GHC (1), CHC (2), Pacoima (1)
Total |  |  | 17 |  | 14 | 0
Standard Balance Scale | Health O Meter | None | 2 |  | 2 | 0 | NHHC (1), RTHC (1)
Standard Balance Scale | Health O Meter | 402KL | 2 |  | 2 | 0 | MLK (2)
Scale for Wheelchair | Health O Meter | No Model Listed | 1 |  | 2 |  | MLK (1)
Standard Balance Scale | Cardinal Detecto | None | 2 |  | 2 | 0 | CHC (1) & MHC (1)
Standard Balance Scale | Seca | 700 | 2 |  | 2 | 0 | CHC (2)
Standard Balance Scale | Acculab | VIC-3003 | 1 |  | 2 | 0 | Pharmacy (1)
Adult Stand On Scale | Continental Scale | 400DRD | 1 |  | 2 | 0 | CHC (1)
Total |  |  | 11 |  | 14 | 0
Digital Scale | Cardinal Detecto | 6129 | 6 |  | 2 | 0 | AVHC (2), NHHC (1), PAC (2), WHC (1)
Digital Scale | Cardinal Detecto | 758C | 3 |  | 2 | 0 | PAC (1), CTHC (2)
Digital Scale | Cardinal Detecto | 751 | 1 |  | 2 | 0 | HWHC (1)
Digital Scale | Cardinal Detecto | 750 | 10 |  | 2 | 0 | CTHC (1), HWHC (1), Cen Sat (1), MHC (1), THC (1 - no dept sticker), Pomona (2), CHC (3)
Digital Scale | Cardinal Detecto | SOLO | 1 |  | 2 | 0 | NHHC (1)
Digital Scale | Welch Allyn | 901109 | 1 |  |  |  | WHC (1)
Digital Scale | Seca | 7802321138 | 5 |  | 2 | 0 | CTHC(2) & THC(3)
Digital Scale | Seca | 7802321134 | 1 |  | 2 | 0 | THC (1- no dept sticker)
Digital Scale | Befour | 2600T | 1 |  | 2 | 0 | THC (1)
Digital Scale | Befour | MX805 | 1 |  |  |  | CHC (1)
Digital Scale | Health O Meter | 500KL | 1 |  |  |  | THC (1)
Total |  |  | 31 |  | 16 | 0
Thermometer (equipment) | Fisher Scientific/Other | None | 1 |  | 1 | 0 | MLK (1)
Thermometer (equipment) | Cardinal Health | T2960-3 | 4 |  | 1 | 0 | MLK (1), WHC (1), CHC (1)
Thermometer (equipment) | Fisher Scientific/Other | 666411 | 4 |  | 1 | 0 | MLK (1), Pomona (2 total, 1 is in storage), CHC (1)
Thermometer (equipment) | BCR | Red Fluid | 1 |  | 1 | 0 | MLK (1)
Thermometer (equipment) | Cooper | Red Fluid | 1 |  | 1 | 0 | WHC (1)
Thermometer (equipment) | UEI | RFT2A | 1 |  | 1 | 0 | WHC (1)
Thermometer (equipment) | Taylor | Red Fluid | 3 |  | 1 | 0 | MLK (1), WHC (1), MHC(1)
Thermometer (equipment) | Market Lab | ML 4011 | 2 |  | 1 | 0 | THC (2 - no dept sticker)
Thermometer (equipment) | UEU Test Instruments | Red Fluid | 1 |  | 1 | 0 | CHC (1)
Thermometer (equipment) | NSF | Red Fluid | 1 |  | 1 | 0 | CHC (1)
Thermometer Aneroid | Cooper | N/A | 1 |  | 1 | 0 | CHC (1)
Thermometer | Cooper | 335 | 2 |  | 1 | 0 | MHC (1), Pomona (1)
Thermometer | Cooper | 25HP | 2 |  | 1 | 0 | MHC (1), Pomona (1 in storage)
Thermometer (equipment) | Streck | Red Fluid | 2 |  | 1 | 0 | MLK (2)
Datalogging Thermometer | Thomas Scientific | 1198d76 | 5 |  | 1 | 0 | THC (5 total, 2 have no department sticker)
Temp Logger | Veriteq | SP10022N;SP140044N | 1 |  | 1 | 0 | RTHC (1) Commented item is calibrated by Vaisala
Thermometer | Taylor | 5925 | 1 |  | 1 | 0 | CHC (1)
Thermometer | Taylor | None | 1 |  | 1 | 0 | MHC (1)
Thermometer | Taylor | 5923 (Aneroid) | 1 |  | 1 | 0 | NHHC (1)
Thermometer | Chef's Review | 3507-55 | 1 |  | 1 | 0 | NHHC (1)
Thermometer electronic | Fisher Scientific | No Model Listed | 1 |  | 1 | 0 | Pomona (1)
Thermometer electronic | Fisher Scientific | 11873460 | 1 |  | 1 | 0 | MHC (1)
Thermometer (fridge/freezer) | VWR | 61161-364 | 1 |  | 1 | 0 | NHHC (1)
Thermometer (fridge/freezer) | Johnstone | G21520 | 2 |  | 1 | 0 | MHC (1) & Pomona (1)
Thermometer | Thermo Fisher | 94460-72 |  |  |  |  | RTHC(2)
Total |  |  | 41 |  | 24 | 0
Vision Test Device | Good Lite | A+ 600600 | 4 |  | 1 | 0 | AVHC (1), PAC (1), HWHC (1), MHC (1)
Vision Test Device | Graham-Field | 2867-1261 | 1 |  | 1 | 0 | MLK (1)
Vision Test Device | MODEL AT | Snellen | 1 |  | 1 | 0 | Cen Sat (1)
Total |  |  | 6 |  | 3 | 0
Opthalmoscope/Otoscope/Wall Transformer (Blood Pressure) | Welch Allyn | 767 Series | 15 |  | 2 | 0 | CTHC (2), THC (4), MLK (9)
Opthalmoscope/Otoscope/Wall Transformer (Blood Pressure) | Welch Allyn | 74710 | 1 |  | 2 | 0 | PAC (1)
Opthalmoscope/Otoscope/Wall Transformer (Blood Pressure) | Welch Allyn | None | 2 |  | 2 | 0 | RTHC (2)
Opthalmoscope/Otoscope/Wall Transformer (Blood Pressure) | Welch Allyn | GS 777 | 2 |  | 2 | 0 | PAC (1) & MHC (1)
Opthalmoscope/Otoscope/Wall Transformer (Blood Pressure) | Welch Allyn | GS 777 (77710) | 3 |  |  |  | THC (3)
Total |  |  | 23 |  | 8 | 0
Blood Pressure/Sphygmomanometer | American Diagnostic Corp. | 6013 | 1 |  | 2 | 0 | NHHC (1)
Blood Pressure/Sphygmomanometer | American Diagnostic Corp. | CE 0197 | 1 |  | 2 | 0 | NHHC (1)
Blood Pressure/Sphygmomanometer | American Diagnostic Corp. | None | 4 |  | 2 | 0 | NHHC (4)
Blood Pressure/Sphygmomanometer | Omron Digital B/P | HEM 907 | 1 |  | 2 | 0 | CTHC (1)
Blood Pressure/Sphygmomanometer | GE Dinamap | Pro 200V2 | 1 |  | 2 | 0 | CHC (1)
Blood Pressure/Sphygmomanometer | GE Dinamap | Pro 400V2 | 1 |  | 2 | 0 | HWHC (1)
Blood Pressure/Sphygmomanometer | Omron Digital B/P | HEM-712C | 1 |  | 2 | 0 | NHHC (1)
Blood Pressure/Sphygmomanometer | Omron Digital B/P | HEM-780N3 | 1 |  | 2 | 0 | HWHC (1)
Blood Pressure/Sphygmomanometer | Welch Allyn | 74710 | 1 |  | 2 | 0 | WHC (1)
Blood Pressure/Sphygmomanometer | Welch Allyn | 767 Series | 7 |  | 2 | 0 | THC (4) , HWHC (1), CHC (2)
Blood Pressure/Sphygmomanometer | Welch Allyn | CE0050 | 3 |  | 2 | 0 | CTHC (1) & RTHC (2)
Blood Pressure/Sphygmomanometer | Tyco | None | 2 |  | 2 | 0 | NHHC (1), WHC (1)
Blood Pressure/Sphygmomanometer | American Diagnostic Corp. | 785 | 1 |  | 2 |  | NHHC (1)
Blood Pressure/Sphygmomanometer | OMRON | No Model Listed | 2 |  | 2 |  | NHHC (2)
Blood Pressure/Sphygmomanometer | Welch Allyn | CEO297 | 1 |  | 2 |  | CTHC (1)
Blood Pressure/Sphygmomanometer | ABCO | Not Listed | 3 |  | 2 |  | NHHC (3)
Total |  |  | 31 |  | 24 | 0
Pulse Oximeter | BCI | 3301 | 1 |  | 2 | 0 | CHC (1)
Powered Air Respirator | 3M | TR-300 | 2 |  | 2 |  | MHC (1)
Total |  |  | 3 |  | 4 | 0
Thermometer (patient) | Welch Allyn | Braun Thermoscan Pro4000 | 6 |  | 2 | 0 | AVHC (2), NHHC (1), PAC (1), WHC (1), MHC (1)
Thermometer (patient) | Welch Allyn | SURETEMP | 2 |  | 2 | 0 | RTHC (2)
Thermometer (patient) | Welch Allyn | SURETEMP Plus 692 | 7 |  | 2 | 0 | HWHC (4) & CHC (3)
Thermometer (patient) | Welch Allyn | 6021 | 1 |  | 2 | 0 | CHC (1)
Thermometer (patient) | Welch Allyn | 6014 | 1 |  | 2 | 0 | CHC (1)
Infrared Thermometer | N/A | N/A | 1 |  | 2 |  | Pomona (1)
Thermometer (patient) | ONSET | CX402-VFC215 | 11 |  | 2 |  | WHC (6) & Pomona(5)
Thermometer (patient) | ONSET | CX402-VFC115 | 6 |  | 2 |  | WHC (6)
Thermometer (ear) | Welch Allyn/ Braun | PRO 6000 | 4 |  | 2 |  | MHC (1), Pomona (3)
Thermometer (patient) | Welch Allyn | 76751 | 4 |  | 2 |  | THC (4)
Thermometer (patient) | Welch Allyn | 690SURETEMP+ | 3 |  |  |  | THC (3)
Total |  |  | 46 |  | 20 | 0
X-ray View Box | Wolf X-Ray | MG7 | 3 |  | 1 | 0 | AVHC (3)
Total |  |  | 3 |  | 1 | 0
Exam Chair | Midmark | 411-016 | 1 |  | 2 | 0 | THC (1 - listed on sheet as table)
Exam Chair | Midmark | 224 | 1 |  | 2 |  | Pomona (1 - storage)
Exam Chair | Dentamedmove/Lemi | no model provided | 4 |  | 2 |  | MHC (1), Pomona (1), CHC (2)
Exam Chair | Midmark | 641-004 | 2 |  | 2 | 0 | MLK (2)
Exam Chair | Midmark | 625*401702 | 1 |  |  |  | CHC (1)
Total |  |  | 8 |  | 8 | 0
Vital Signs | Alaris | 4410 | 1 |  | 2 | 0 | CHC (1)
Vital Signs | Welch Allyn | 53NTP | 3 |  | 2 | 0 | GHC (1) , CHC (2)
Vital Signs | Welch Allyn | 53OTP | 1 |  | 2 | 0 | CHC (1)
Vital Signs | Welch Allyn | 4200B-E1 | 4 |  | 2 | 0 | AVHC (2), PAC (2)
Vital Signs | Mindray | Accutorr VS8 | 3 |  | 2 | 0 | HWHC (2) & CHC (1)
Vital Signs | Mindray | Accutorr 7 | 25 |  | 2 | 0 | AVHC (2), NHHC (2), PAC (2), CTHC (2), RTHC (2), THC (2), HWHC (2), MLK (1), WHC (3), CenSat (1), MHC (1), Pomona (2. 1 is in storage), CHC (3)
Vital Signs | GE | DINAMAP PRO 200V2 |  |  |  |  | CHC (1)
Total |  |  | 37 |  | 12 | 0
Phlebotomy Chair | Clinton Industries | 6341 | 6 |  | 2 | 0 | CTHC (2), THC (1), MLK (1), WHC (2)
Phlebotomy Chair | No Brand Given | not listed | 1 |  | 2 | 0 | RTHC (1)
Total |  |  | 7 |  | 4 | 0
Urinalysis | Siemens | Clinitek Status+Connect | 4 |  | 2 | 0 | AVHC (1), NHHC (1), MLK (1), CHC (1-manufacturer, model, serial unknown)
Urinalysis | Siemens | Clinitek Status+Analyzer | 1 |  |  |  | CHC(1)
Total |  |  | 4 |  | 2 | 0
1
FLAT RATE SECTION - TOTAL |  |  | 394 |  | 211 | 0
2. HOURLY RATE SECTION*
Type of Hourly Rate |  |  |  | Hourly Rate (A) | Estimated Hours (B) | Estimated Total Annual Cost (12 Months) (AxB)
2a. As-Needed Services (response and/or service performed within 24 hours of notification to Contractor, refer to Exhibit A, Statement of Work, Paragraph 9.2): |  |  |  |  | 40 | 0
2b. Exclusions (response and/or service provided within 24 hours of notification to Contractor for "Out-of-Scope" services, refer to Exhibit A, Statement of Work, Paragraph 9.4): |  |  |  |  | 40 | 0
HOURLY RATE SECTION - TOTAL (2a + 2b) |  |  |  |  | 80 | 0
*Proposer shall be reimbursed for the procurement of any and all require parts for service(s) in the Hourly Rate Section in accordance to Paragraph 6, Invoices and Payment, of the Contract.
3. BUDGET FOR PARTS FOR REPAIRS SECTION
BUDGET FOR PARTS FOR REPAIRS SECTION - TOTAL | [5 empty] | 20000
4. BUDGET FOR NEW EQUIPMENT AND CALIBRATION
BUDGET NEW EQUIPMENT AND CALIBRATION SECTION - TOTAL |  |  |  |  | 5000
Note on H2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Do we need this note on the final?
Note on F25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Why is this not the entire sum for Centrifuge? Only thru F20?
Note on G25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Only though G20?
Note on F34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on G34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on F55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on G55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on G88: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on F115: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on G115: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on F127: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on G127: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on F145: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on G145: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on F162: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on G162: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on D172: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on F172: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on G172: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on D181: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on F181: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on G181: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on F190: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on G190: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula.
Note on G192: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please double check formula. G190?

## Exhibit 9-C- Total Price
Bidder's Name:
Section | Bidder's Total Annual (12 Months) Cost
Public Health Laboratories (PHL) - Exhibit C1
1. Flat Rate Section Total Annual Cost | 0
2. Hourly Rate Section Estimated Total Annual Cost | 0
3. Budget for Parts for Repair Section Annual Cost | 20000
4. Budget for New Equipment and Calibration Annual Cost | 5000
PHL TOTAL ANNUAL PRICE | 25000
Community Health Services (CHS) - Exhibit C2
1. Flat Rate Section Total Annual Cost | 0
2. Hourly Rate Section Estimated Total Annual Cost | 0
3. Budget for Parts for Repair Section Annual Cost | 20000
4. Budget for New Equipment and Calibration Annual Cost | 5000
CHS TOTAL ANNUAL PRICE | 25000
PHL AND CHS COMBINED TOTAL ANNUAL PRICE | 50000